| S.O.P. # | 301.01 |
| --- | --- |
| Title | Copurification of DNA and RNA from tissue |
| Effective Date |  |

- Purpose

To describe the procedure to copurify DNA and RNA from frozen brain tissue

- Equipment and Materials

  - Equipment

    - Tissue Homogenizer (Omni International, #TH115)

    - Microcentrifuge (Fisher, #S39740)

    - P20 micropipette (Rainin, #PR-20)

    - P200 micropipette (Rainin, #PR-200)

    - P1000 micropipette (Rainin, #PR-1000)

  - Materials

    - AllPrep DNA/RNA kit (Qiagen, #80204)

    - Proteinase K (Qiagen, #19131)

    - RNase free DNase set (Qiagen, #79254)

    - 20 µl pipette tips (ASI, #FT1020)

    - 200 µl pipette tips (ASI, #FT1200)

    - 1000 µl pipette tips (ASI, #FT1250)

    - 2ml Eppendorf tubes (Eppendorf, #022600044)

    - 1.5ml Eppendorf tubes (Eppendorf, #022600028)

    - -mercaptoethanol (-ME; Millipore Sigma, #444203)

    - 200 proof Ethanol (Fisher, #BP2818)

- Health and Safety

    - Refer to SOP 005.01 (proper laboratory attire)

- Procedure

  - Add 10µl of -ME to 1ml Buffer RLT plus before use. Can be stored at room temperature for up to 1 month

  - Add 4 volumes of 100% Ethanol to Buffer RPE for a working solution (if kit is new)

- Harvest tissue into a 2ml Eppendorf. Do NOT use more than 30mg, but 5-10mg is preferred. Homogenize the tissue in 600µl Buffer RLT plus (with -ME). Lysate can be stored at -C before further processing.

- Centrifuge the lysate for 3min at max speed.

- Carefully transfer the lysate to an AllPrep DNA spin column placed in a 2ml collection tube. Close lid gently, and spin for 1min at 8000 x g. If lysate does not pass through column, increase time and/or g.

- Place the AllPrep DNA column in new 2ml collection tube. Store at 4C for later DNA purification (during the DNase I treatment step). SAVE THE FLOW THROUGH.

RNA purification

- Add 600µl of 70% ethanol to the flow through. Mix well by pipetting and immediately proceed to step 2.

- Transfer 600µl of the sample, including any precipitate, to an RNeasy spin column. Spin for 1min at 8000 x g. If lysate does not completely pass through, increase time and/or g. Discard the flow-through. Repeat for remaining sample.

- Add 350µl Buffer RW1 to RNeasy spin column. Spin for 1min at 8000 x g.

- Perform DNase digestion (requires separate kit)

  - For each column, mix 10µl DNase, 70µl Buffer RDD.

  - Apply 80µl to the column.

  - Incubate at room temperature for 15min with the lids OPEN.

  - Add 350µl Buffer RW1. Spin for 1min at 8000 x g. Discard flow-through.

- Add 500µl Buffer RPE. Spin for 1min at 8000 x g. Discard flow-through.

- Add 500µl Buffer RPE. Spin for 2 min at 8000 x g. Discard flow-through.

- To remove any remaining ethanol, place column in a new 2ml collection tube. Spin for 3 min at max speed. Discard flow-through.

- Place column in new 1.5ml collection tube. Add 50µl RNase-free water directly to the spin column membrane (try to avoid the sides of the column). Incubate for 3 min at room temperature. Spin for 1min at 8000 x g.

DNA purification (perform during DNase digestion)

- Add 500µl Buffer AW1 to the AllPrep DNA spin column. Spin for 1min at 8000 x g. Discard flow-through.

- Add 500µl Buffer AW2. Spin for 2 min at max speed. Discard flow-through.

- To remove any remaining ethanol, spin for 3 min at max speed. Discard flow-through.

- Place column in new 1.5ml collection tube. Add 100µl Buffer EB directly to spin column membrane (try to avoid the sides of the column). Incubate for 3 min at room temperature. Spin for 1min at 8000 x g.